Plain Round Bollard 1500mm Above Ground

114

mm - 219mm Diameter

Galvanised - Concrete In

The range of Plain Round Bollards offers a simple and cost effective means of establishing control over parking and access. Plain Round Bollards are ideal for use around pedestrian precincts, pavements, play and parking areas, as part of traffic calming measures, pedestrianisation schemes and as a deterrent to ram-raiders.

The complete range of Plain Round Bollards is available in diameters from 114mm to 219mm and is available with extended legs for casting into concrete or with a flange plate for bolting down.

Colour coated and removable versions are also available.

| Part Number 138 121 447 138 121 609 138 121 680 138 121 714 138 121 808 138 121 908 | Diameter 114mm Galvanised 139mm Galvanised 152mm Galvanised 168mm Galvanised 193mm Galvanised 219mm Galvanised | Weight (kg) 16kg 33kg 22kg 40kg 47kg 53kg |
| --- | --- | --- |
| Product details - 3mm wall thickness - 114mm and 152mm - 5mm wall thickness - 139mm, 168mm - 219mm - Concrete in 500mm (below ground) |  |  |

Installation & use

Bolt down to a suitable concrete surface. Telescopic, removable and concrete in are supplied with welded fixing spikes to ensure firm ground anchorage into concrete. Telescopic, removable and concrete in require a suitable excavated hole for installing into concrete. Products are guaranteed for 12 months (if installed and used correctly).